## Slide 1: Nadir calibration (monthly)
300 second nadir pointing for pixel to pixel variations
v
IMAGING
NON-IMAGING

## Slide 2: Nadir calibration processing
Same processing as normal altitude profiles except:
  No flat field
  Result normalized to average value of 1.0

## Slide 3: Lunar Calibration (Absolute)
Monthly
~600 second raster sweep of full moon through the field of view.

## Slide 4: Lunar Calibration Processing
Measured spectrum=Instrument X Lunar Albedo X Geometry X Solar Spectrum
Solar Spectrum from SDO EVE measurements+model